## Slide 1: Seimei Telescope
Mikio Kurita
Kyoto Univ.
20230717
ICISE, Quy Nhon, Vietnam

## Slide 2: Why 3.8 m telescope
Brief history of Japanese observational astronomy
1960: 1.88m telescope in Okayama
2000: 8.2m SUBARU telescope in Hawaii
2017: 3.8m telescope in Okayama
1.88 m telescope founded and played important role of Japanese observational astronomy. 30 years later from the 1.88 m telescope, Japanese astronomical community started discussion of construction of the large telescope to be located on the oversee site, which has better observational condition than the domestic site.
After Subaru telescope, community regarded again importance of domestic observational station for young astronomers and accessibility. It requirement leads 3.8 m telescope project

## Slide 3: Outline of Project
Site: Okayama Astrophysical Observatory, founded in 1960
Telescope: 3.8 m, first segmented telescope in Japan
First light was in 2019
Dome
Seimei
Segmented 3.8 m primary mirror

## Slide 4: Why Okayama
Clear night = 50%
Seeing :1.1”
4 hour drive from Kyoto to Okayama
High accessibility leads chances for
  Young astronomers
  Engineering development and challenging science
Backyard Telescope!
Okayama Astrophysical Observatory
1.8m telescope
Seimei site.

## Slide 5: Why Okayama Telescope Network for Transient Object
Transient Object:
  Super novae, Gamma ray burst, and Flare star, etc.
  Gamma ray burst is the brightest object in the universe and important prove for deeper universe.
  rare and disappear in short time
Monitoring network system is required
Desert of medium size telescope around Japan
Image of Gamma ray bust
NASA

## Slide 6: Outline of Seimei
Aperture: 3.8 m
Focus: Nasmyth × 2 F/6
Field of view: 10’ , 1°
Observational
Wavelength: 0.4 to 4.2 um
Adaptive Optics: Near-infrared
Pointing speed < 1 min (whole sky)
Elevation speed 3°/s
Azimuth speed 4°/s
8 m
8 m
20 tons

## Slide 7: Mirror Factory
A venture company was newly build for research and development of large optical elements.
We aim to shorten processing a large optical element with high precise grinding system.
Facility
Astroaero Space Inc.
Grinding Machine
（N2C-1300D）

## Slide 8: Machining and Test System
10 m
Interferometer
&
Anti vibration system
Grinding Machine
Chamber T:23±0.1 deg
Mirror Factory

## Slide 9: Grinding accuracy
Grinding P-V = 0.4um
Size: Φ610
Form: Flat
Material: Clearceram
(zero expansion ceramics, OHARA)
Processing time: Few hours
Mirror Factory

## Slide 10: Problem of Direct Support
The error induced by a direct support comes up to several microns, in case of large but thin optics.
Before setting
After setting
(Stress loaded)
Grinding
After grinding
(Stress released)
Mirror Factory
blank
machinery table

## Slide 11: Kinematic Support Grinding
Three fixed points for kinematic support (without over constraint).
Multi springs to assist of the support and to reduce friction between the segment and fixed points
The deformation induced by grinding pressure was simulated beforehand, and then a stone is controlled to correct the deformation.
Segment
Fixed point
Fixed point
Spring
Spring
Without correction
With correction
Figure Error
Mirror Factory

## Slide 12: Kinematic Support Grinding
Deformation map
with grinding force of 5N
P-V = 5 um
The black points show the position of fixed points
Figure error without the grinding pressure correction
Each color of the lines corresponds
to that of the right figure
(1div = 1 um)
Mirror Factory
6 μm

## Slide 13: Kinematic Support Grinding
Figure error with the grinding pressure correction
Each line is described in a same manner of the preceding page
(1div = 1 um)
Error map
-1 um to 1 um
Mirror Factory

## Slide 14: Test the Mirror CGH Interferometer
Test beam
Goes through the CGH as 1th order and back through as 0st order
Reference beam
Goes through the CGH as 0th order and back through as 1st order
Semi common pass
→ Robust against turbulence and vibration
Reference
Imaging lens
Test the Mirror
Notes: This is optical layout of interferometer.
Collimated beam is diffracted by computer generated hologram which produces wave front same of mirror shape
Test beam
Goes through the CGH as 1th order and back through as 0st order
Reference beam
Goes through the CGH as 0th order and back through as 1st order and interferogram is projected on the detector
This test system realize semi common pass between test and reference beam which guarantees robustness against turbulence and vibration

## Slide 15: CGH (Computer Generated Hologram)
Grating
1st order diffraction
Incident
Designed grating pattern produces intentionally distorted wave front

## Slide 16: CGH (Computer Generated Hologram)
CGH for the inner (left) and outer (right) segments
Each line represents 30 lines in the real pattern

## Slide 17: Figure error of the mirror (Structure Function)
Test the Mirror

## Slide 18: Lightweight Structure
Truss structure
Large arc rails for elevation bearing
Homologous deformation optimized by genetic algorithm
Moving mass around elevation ：8 ton (4 ton optics)
1/5 of conventional telescope

## Slide 19: Truss Structure
The telescope tube consists of truss structure only
Advantages
  Light but stiff
  Small cross section and low air drag
  Low heat capacity
  Large surface area and low heat inertia
Back view of primary mirror
Lightweight Structure

## Slide 20: Large Arc rails
The primary mirror is directly supported by large elevation rings without center section and mirror cell
center section
cell
This mount
Conventional mount
In conventional mount ,because the center section and cell are supported by its periphery, bending moments load on them
Conventional radio telescope mount
Lightweight Structure

## Slide 21: Homologous Deformation
Serrurier Truss for keeping the optical alignment between the primary and secondary mirrors
  similar but more primitive idea to homologous deformation utilized in radio antennae
primary
Secondary
Optical axis
Lightweight Structure

## Slide 22
Parent 88.51 kg
1st Generation 84.14 kg
3rd Generation 82.71 kg
10th Generation 77.52 kg
18th Generation 76.22 kg
Genetic Algorithm (GA) for
lightweight and homologous deformation
Lightweight Structure
GA is a way to optimize a subject which has multi conflict object.
  In GA, a model devolves like a evolution of life by using Selection, Mutation, & Crossover
  Cantilever example

## Slide 23
1 tf
4 tf
Genetic Algorithm for
lightweight and homologous deformation
Lightweight Structure
Requirement in homologous performance (El. 88～20 deg)
nodes for primary mirror in normal <0.1 mm
nodes for secondary mirror in lateral <2mm→0.4 mm
nodes for tertiary mirror in normal <0.05 mm
Variable
Position of node (deleting is possible)
Cross section of straight member (deleting is possible)
Material is selected from JIS member only
Rate of crossover 0.8
Rate of Mutation 0.01

## Slide 24
進化後のモデル
Deformation(mm）
Weight（ton）
仕様範囲
Genetic Algorithm for
lightweight and homologous deformation
First model
Final model
Lightweight Structure

## Slide 25
初期解
最適解の一例
Acceptable deformation
0%
200%
Lightweight Structure
Genetic Algorithm for
lightweight and homologous deformation

## Slide 26: Control System of Segmented Mirror

## Slide 27: Segment and Positioning
❙Position Requirement： RMS ≲30 nm
❙Disturbance Deformation of Structure induced with
Gravity・Thermal： ～100 μm Wind load ： 300 nm @1 Hz 8 nm @10 Hz

## Slide 28: Outline of the control system
segments×18
computer
actuators ×57
Support structure
sensors ×72
● Feedback speed : 200Hz

## Slide 29
Sensor : relative motion between the segments 2 tilts、1 piston motion α, β z
Sensor72 actuator57
～ ：actuator motion
～ ：sensor
Piston modes of
Seg7, 11, 15 are fixed

## Slide 30
Chart: distance [mm]
7/24
● sampling rate 200 Hz ● noize few nm（depends on the gap）
● strongly affected with humidity ▶ compensation with a refence sensor rms～50 nm
Sensor

## Slide 31
Reference sensor
Measuring sensor
Glued point
spring
Arm

## Slide 32: Component of Segment Control System
Supporting mechanics
・SHWFS
・Phase Camera
Edge Sensor
Processor
Supporting mechanics
Segment
Segment
Actuator
Actuator

## Slide 33: Kinematic Support for Segment
Actuator connected
Supporting point ×9
Segment
Segment Mirror
Flexure Pivot
Axial rod ×9
(Flexure)
Segment mirror is supported by multi points in such a way that the segment floats without over constraint.
Tip-tilt and piston of the segment are actuated via the three pivots.
Actuator ×3

## Slide 34: Segment Techniques Supporting Structure
Deformation @ 0 deg
RMS = 30 nm, P-V = 150 nm
Chart: Separation[mm]
 | 83.3376 | 83.3376
 | 26.2935
Deformation @ 90 deg
RMS = 12 nm, P-V = 81 nm
Red：Requirement
Blue：Support
SR0.76@1.0um
SR0.58@0.7um
SR0.97@3.0um
SR0.93@2.0um
Simulated SR considering the actual figure error of segments and supporting system

## Slide 35: Warping Harness
Simulation
Result
obtained by CGH interferometer
Segment Mirror
Warping harness provides torque on the flexure pivot in order to
reduce the figure error of low order
correct the positioning error of the segment on the mount(power and astigmatism)
correct the seasonal distortion

## Slide 36: Actuator
Lever
(Flexure pivot)
output
1/30
Actuator
Decelerator
Input at actuator (μm)
Output (μm)
Time (second)
Output (μm)
Reverse motion test
Segment Technics

## Slide 37
11/13
Feedback OFF
Actuator
Feedback ON
Put a load on and off the segment
Time (second)
Displacement (nm)
Segment Technics

## Slide 38: SHWFS（Shack Hartmann Wavefront Sensor） Detecting the segment attitude
SHWFS
望遠鏡焦点
ｖ
ｖ
ｖ
Spot image of the SHWFS

## Slide 39: SHWFS（Shack Hartmann Wavefront Sensor） detection the segment attitude
SHWFS
Ideal wave front
Distorted wave front
with miss-aligned
segments
Idea wave front
Telescope
focal point
MLA
Positions of the spot indicates the wave front inclination

## Slide 40: 鏡のゆがみを検出
姿勢を検出
歪みを検出

## Slide 41: Installing the segments
3/10
主鏡
主鏡
副鏡
副鏡
第三鏡
第三鏡
2018 Jul.
Gap between segments
～5mm

## Slide 42: Progress of alignment 2018 to 2019
10"
12/12(Eng. F. L.) 12/14 12/19 1/20 1/23 7/4
● 2018 Dec. Engineering first light
● Jan. 23rd FWHM～2“.24 ● Jul. 4th FWHM～1".06
1st semester of 2019 starting operation
前期運用

## Slide 43: Hartmann score
5/10
Vector map in Jul. 4th Hartmann constant 0”.56

## Slide 48
NGC6946